## 2019-20
Block | Element Code | Attribute Code | refno | date logged | WO no | Description | amount | Block Name
13121 | REPAIRS | BLCHARGE | 49829 | 2019-05-02 | 3007230/4 | Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. Rear of building. | 1415.4 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 49979 | 2019-04-16 | 3066920/1 | 10850149 / 090043 / Supply & erect tower scaffold platform 2.5m square, average 6.5m high from ground level, complete with guard rails, toe boards, ladders and platforms.To comply with current regulations Minimum hire pe | 774.94 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 49980 | 2019-04-16 | 3066920/1 | 10850150 / 090044 / Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. | 1011 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 49981 | 2019-04-16 | 3066920/2 | 10850155 / 04057R / APPLICATION OF IKP POLIMAR EC/UV LIQUID PLASTICS.CLEAN SURFACE; APPLY PRIMER; APPLY EMBEDMENT COAT; APPLY TOP COAT; INTEGRATED GRF REINFORCEMENT MATTING AT UPSTANDS, PENETRATIONS, ETC | 941.1 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 49982 | 2019-04-16 | 3066920/2 | 10850156 / 04006R / Clear out rhones and remove all debris Rate per 10m | 49.65 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 49983 | 2019-04-16 | 3066920/2 | 10850154 / 04004R / Renew slates / clay tiles / concrete interlocking tiles any size and type. Up to 5 slates / tiles. Include for underslating felt. (5 No. Tiles/Slates allowed for) | 91.9 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 50895 | 2019-05-30 | 3087016/1 | Paint over graffiti; 2 coats; any surface; include for priming; filling etc By bin room doors | 15.02 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51250 | 2019-08-09 | 3106542/1 | 11076815 / 933531 / Supply and fit 2.0kg gas CO2 fire extinguisher | 28.56 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51251 | 2019-08-09 | 3106542/1 | 11076814 / 933501 / Carry out Routine inspection and bring back into service 9 Litre water (fire app) | 0.61 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51252 | 2019-08-09 | 3106542/1 | 11076813 / 933548 / Guage test and patch | 0.29 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51561 | 2019-09-26 | 3114715/1 | Supply & fit any type of lock; ground floor drying room door | 105.18 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51585 | 2019-09-18 | 3115636/1 | Make safe low wall at back steps between block 2 and 4 | 91.91 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51586 | 2019-11-22 | 3115636/2 | Rebuild low wall at back steps between block 2 and 4 | 459.55 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51604 | 2019-09-06 | 3115974/1 | Callout and repair Lift - Accidental damage | 300 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51709 | 2019-09-24 | 3119998/1 | Callout and repair Lift - Running on Arrival | 150 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51821 | 2019-10-08 | 3123417/1 | Make safe and rebuild low wall at back steps between block 2 and 4 | 91.91 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 51938 | 2019-12-30 | 3129199/1 | Turn off water and strip out storage tank and remove from site. Fit new cold water storage tank complete - Block 1 | 421.67 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 52033 | 2019-11-08 | 3138718/1 | Lift - Supply and fit 2x new contactors and repair wiring | 500 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 52464 | 2019-04-01 | 3058824/1 | Remove/refix loose slates / tiles; refixing with appropriate nails or clips. | 128.76 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 52465 | 2019-04-01 | 3058824/1 | Remove / redress / renew flashing complete. | 251.08 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 52546 | 2019-05-28 | 3066938/1 | 10850180 / 905003 / Carry out 1H Routine Inspection as per appendix schedule. (emer light) | 67.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 52751 | 2019-05-31 | 3077617/1 | 10883612 / 905003 / Carry out 1H Routine Inspection as per appendix schedule. (emer light) | 67.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 52752 | 2019-05-31 | 3077617/2 | 10883882 / 904023 / Carry out routine Ventilation service as per appendix schedule | 202.34 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 52843 | 2019-06-10 | 3087513/1 | S&F any type of door closer. Middles entrance door | 102.66 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 52886 | 2019-07-01 | 3089377/1 | 10918014 / 905003 / Carry out 1H Routine Inspection as per appendix schedule. (emer light) | 67.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 52963 | 2019-07-15 | 3098403/1 | Overhaul door Take off; strip; adjust and rehang door. 1st floor electrical cupboard | 47.19 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53030 | 2019-07-29 | 3099074/1 | 10953880 / 905003 / Carry out 1H Routine Inspection as per appendix schedule. (emer light) | 67.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53116 | 2019-07-24 | 3104603/1 | Roof - Remove / redress / renew flashing complete. | 125.54 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53203 | 2019-08-29 | 3106736/1 | 10978572 / 905003 / Carry out 1H Routine Inspection as per appendix schedule. (emer light) | 67.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53382 | 2019-09-20 | 3114778/1 | Overhaul door Take off; strip; adjust and rehang door. Floor 1 inspection hatch | 47.19 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53452 | 2019-09-11 | 3117182/1 | Board up windows and doors, any size, with 18mm ply. Include for framing to opening as req. Floor 1 inspection hatch | 73.24 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53482 | 2019-09-19 | 3118794/1 | Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53520 | 2020-03-10 | 3120056/2 | Remove/refix loose slates / tiles; refixing with appropriate nails or clips. | 42.92 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53521 | 2020-03-10 | 3120056/2 | Remove / redress / renew flashing complete. | 188.31 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53522 | 2020-03-10 | 3120056/2 | Rake out joint in brickwork or blockwork for roofing felt or flashing and point with cement mortar. | 64.38 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53523 | 2020-03-10 | 3120056/3 | Supply & erect tower scaffold platform 2.5m square, for roof works | 387.47 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53524 | 2020-03-10 | 3120056/3 | Extra over for the provision of a covered way, to protect pedestrian traffic within the width of any scaffold. For roof works | 135.88 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53525 | 2020-03-10 | 3120056/3 | Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. For roof worls | 808.8 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53696 | 2019-10-31 | 3122290/1 | 11032117 / 905004 / Carry out 1H Routine Inspection as per appendix schedule.(emer light) | 50.6 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53698 | 2020-03-13 | 3122300/1 | S&F any type of lock; include latch or ball catch and for up to 8 no keys Attic lock | 105.18 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53827 | 2019-11-28 | 3135020/1 | 11070440 / 904023 / Carry out routine Ventilation service as per appendix schedule | 607.02 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53865 | 2020-03-13 | 3135538/1 | Clear silicon sealant from middle stair landing windows | 40.3 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 53964 | 2020-01-14 | 3144202/1 | Supply and lay a top-up coating of self-binding aggregate | 3779 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 54108 | 2020-02-12 | 3155940/1 | 11140443 / 942112 / CLEANING OF WATER TANKS - FOR DRAIN , CLEAN, DISINFECT , FILL , AND TEST OF TANKS GREATER THAN 10,000 LITRES | 553.8 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 54326 | 2020-02-05 | 3161972/1 | 11164531 / 905003 / Carry out 1H Routine Inspection as per appendix schedule. (emer light) | 67.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 54532 | 2020-02-27 | 3169190/1 | 11192107 / 905003 / Carry out 1H Routine Inspection as per appendix schedule. (emer light) | 67.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 54660 | 2020-03-13 | 3175556/1 | Repair roof leak | 59.61 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 54761 | 2020-03-10 | 3181226/1 | Take down dangerous ceiling, any size, using protective sheeting as necessary. Remove debris to appropriate waste skips. Top landing ceiling | 132.45 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 54763 | 2020-03-11 | 3181684/1 | Overhaul door Take off; strip; adjust and rehang door. Lift hatch door | 47.19 | 1 & 2 Saunders Street
[6 empty] | Total | 14980.77

## 2020-21
Block | Element Code | Attribute Code | refno | date logged | WO no | Description | amount | Block Name
13121 | REPAIRS | BLCHARGE | 54880 | 2020-06-17 10:07 | 3181127/1 | 11313786 / 933533 / Supply and fit 9 litre water CO2 fire extinguisher | 23.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 54881 | 2020-06-17 10:07 | 3181127/1 | 11313785 / 933501 / Carry out Routine inspection and bring back into service 9 Litre water (fire app) | 1.83 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 55150 | 2020-06-25 | 3197111/1 | 11288573 / 905003 / Carry out 1H Routine Inspection as per appendix schedule. (emer light) | 67.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 55255 | 2020-06-01 | 3197489/1 | 11289429 / 905003 / Carry out 1H Routine Inspection as per appendix schedule. (emer light) | 67.46 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 55274 | 2020-06-01 | 3197592/1 | 11289676 / 904023 / Carry out routine Ventilation service as per appendix schedule | 607.02 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 55278 | 2020-05-05 09:31 | 3197644/1 | 11290044 / 90016E / Minor repair to lighting accessories or to switch socket / plug top; reset circuit breaker; inspect and test system | 20.13 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 55632 | 2020-06-16 09:34 | 3203409/1 | 11311792 / 03003P / Repair burst pipe any type and size, where no other repairs are carried out; includes for 1m of pipe and 2 no fittings | 45.49 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 55672 | 2020-10-15 | 3204172/2 | 11394166 / 40003P / Repair burst pipe any type and size, where no other repairs are carried out; includes for 1m of pipe and 2no fittings. | 43.64 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 55673 | 2020-10-15 | 3204172/2 | 11394165 / 409999 / Ces callout charge | 25.44 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 55685 | 2020-06-24 | 3204520/1 | 11321397 / 03058P / TIME ONLY FOR 30 MINUTES | 20 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 55901 | 2020-07-15 | 3206977/1 | 11326262 / PRIC01 / MASON - PRICED WORK RATE TO INCLUDE FULL DESCRIPTION OF WORKS AS AGREED WITH TEAM LEADERS | 2350 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56026 | 2020-07-23 11:12 | 3209522/1 | 11335160 / 04004R / Renew slates / clay tiles / concrete interlocking tiles any size and type. Up to 5 slates / tiles. Include for underslating felt. (5 No. Tiles/Slates allowed for) | 91.9 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56027 | 2020-07-23 11:12 | 3209522/1 | 11335162 / 090044 / Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. | 101.1 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56028 | 2020-07-23 11:12 | 3209522/1 | 11335161 / 090043 / Supply & erect tower scaffold platform 2.5m square, average 6.5m high from ground level, complete with guard rails, toe boards, ladders and platforms.To comply with current regulations Minimum hire pe | 387.47 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56029 | 2020-09-15 12:04 | 3209522/2 | 11375522 / 090043 / Supply & erect tower scaffold platform 2.5m square, average 6.5m high from ground level, complete with guard rails, toe boards, ladders and platforms.To comply with current regulations Minimum hire pe | 774.94 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56030 | 2020-09-15 12:04 | 3209522/2 | 11375523 / 090044 / Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. | 1213.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56244 | 2020-08-25 | 3217243/1 | 11380732 / 40015R / Miscellaneous: as agreed with Team Leader (Description of work required) | 79.48 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56245 | 2020-08-25 | 3217243/1 | 11380731 / 409999 / Ces callout charge | 25.44 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56246 | 2020-08-25 | 3217329/1 | 11378184 / 40007P / Main tank / WC cistern overflowing. Include for shutting off water, renewing 15 or 22mm ballcock or washer, float,shank or split pin, removal of old, turn on and test - clear airlocks. | 45.03 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56247 | 2020-08-25 | 3217329/1 | 11378183 / 409999 / Ces callout charge | 25.44 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56248 | 2020-09-29 14:07 | 3217329/2 | 11407268 / 409999 / Ces callout charge | 25.44 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56439 | 2020-09-16 12:16 | 3222179/1 | 11376979 / 04004R / Renew slates / clay tiles / concrete interlocking tiles any size and type. Up to 5 slates / tiles. Include for underslating felt. (5 No. Tiles/Slates allowed for) | 91.9 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56440 | 2020-09-16 12:16 | 3222179/1 | 11376981 / 04006R / Clear out rhones and remove all debris Rate per 10m | 99.3 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56441 | 2020-09-16 12:16 | 3222179/1 | 11376980 / 04005R / Remove / redress / renew flashing complete. | 125.54 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56734 | 2020-11-12 14:24 | 3236443/1 | 11427830 / 750014 / REMOVE ARTEX / FLOOR TILES FROM (SPECIFIED) ROOMS AND INCLUDE AN AIR TEST | 800 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56735 | 2020-11-12 14:24 | 3236443/1 | 11427831 / 750009 / ACM with percentage of water absorbed > 30% cooker panel; approx size 1000 x 1000 x 8 | 394.33 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56838 | 2021-01-15 | 3181600/1 | 11387481 / 08005D / Paint over graffiti; 2 coats; any surface; include for priming; filling etc | 15.02 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56839 | 2020-11-26 | 3181601/1 | 11557310 / 010025 / facing brick 102.5mm thick flush pointed both sides as the work proceeds with snapped headers asrequired | 258.81 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 56954 | 2020-09-09 12:00 | 3219731/1 | 11367528 / 000001 / Rats/Mice treatment | 30.66 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57108 | 2020-11-19 17:00 | 3230786/1 | 11455604 / 933501 / Carry out Routine inspection and bring back into service 9 Litre water (fire app) | 15.25 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57109 | 2020-11-19 17:00 | 3230786/1 | 11455605 / 933548 / Guage test and patch | 0.29 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57110 | 2020-11-19 17:00 | 3230786/1 | 11455603 / 933502 / Carry out routine inspection and bring back into service 5kg CO2 (fire App) | 1.22 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57185 | 2020-11-05 | 3232552/1 | 11557857 / 04004R / Renew slates / clay tiles / concrete interlocking tiles any size and type. Up to 5 slates / tiles. Include for underslating felt. (5 No. Tiles/Slates allowed for) | 137.85 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57186 | 2020-11-25 | 3232552/2 | 11578732 / 090044 / Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. | 707.7 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57187 | 2020-11-25 | 3232552/2 | 11578731 / 090043 / Supply & erect tower scaffold platform 2.5m square, average 6.5m high from ground level, complete with guard rails, toe boards, ladders and platforms.To comply with current regulations Minimum hire pe | 387.47 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57451 | 2020-12-02 10:51 | 3243257/1 | 11448487 / 03003P / Repair burst pipe any type and size, where no other repairs are carried out; includes for 1m of pipe and 2 no fittings | 45.49 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57452 | 2020-12-02 10:51 | 3243257/1 | 11448488 / 03029P / Remake defective metal eaves gutter joint (any type). Rebed with putty and paint; fixed with a new galvanised bolt; nut and washer. Includes for the use of a ladder. | 20.99 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57453 | 2020-12-17 | 3243257/3 | 11465514 / 03003P / Repair burst pipe any type and size, where no other repairs are carried out; includes for 1m of pipe and 2 no fittings | 136.47 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57489 | 2020-12-15 | 3244460/2 | 11502723 / 409999 / Ces callout charge | 25.44 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57490 | 2020-12-15 | 3244460/2 | 11502724 / 40015R / Miscellaneous: as agreed with Team Leader (Description of work required) | 59.61 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57491 | 2021-01-12 | 3244460/4 | 11471751 / 04006R / Clear out rhones and remove all debris Rate per 10m | 99.3 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57492 | 2021-01-12 | 3244460/4 | 11471752 / 04007R / Clear out downpipes and remove all debris. | 39.74 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57493 | 2021-01-12 | 3244460/4 | 11471754 / 090043 / Supply & erect tower scaffold platform 2.5m square, average 6.5m high from ground level, complete with guard rails, toe boards, ladders and platforms.To comply with current regulations Minimum hire pe | 387.47 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57494 | 2021-01-12 | 3244460/4 | 11471753 / 04013R / Supply and lay "plastique" felt in patches; not exceeding 3m2 | 198.78 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57495 | 2021-01-19 | 3244460/5 | 11578994 / 090044 / Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. | 1617.6 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57496 | 2021-01-19 | 3244460/5 | 11578992 / 04057R / APPLICATION OF IKP POLIMAR EC/UV LIQUID PLASTICS.CLEAN SURFACE; APPLY PRIMER; APPLY EMBEDMENT COAT; APPLY TOP COAT; INTEGRATED GRF REINFORCEMENT MATTING AT UPSTANDS, PENETRATIONS, ETC | 2509.6 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57497 | 2021-01-19 | 3244460/5 | 11578991 / 04006R / Clear out rhones and remove all debris Rate per 10m | 99.3 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57498 | 2021-01-19 | 3244460/5 | 11578990 / 04007R / Clear out downpipes and remove all debris. | 39.74 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57499 | 2021-01-19 | 3244460/5 | 11578993 / 090043 / Supply & erect tower scaffold platform 2.5m square, average 6.5m high from ground level, complete with guard rails, toe boards, ladders and platforms.To comply with current regulations Minimum hire pe | 1549.88 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 57712 | 2020-12-23 10:35 | 3248876/1 | 11470828 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58039 | 2021-01-29 12:12 | 3257490/1 | 11503710 / 952200 / Daywork rate - Lift Engineer | 50 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58070 | 2021-02-12 | 3257912/1 | 11527881 / 933501 / Carry out Routine inspection and bring back into service 9 Litre water (fire app) | 0.92 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58071 | 2021-02-12 | 3257912/1 | 11527882 / 933503 / Carry out routine insepction and bring back into service 2kg CO2 (fire app) | 0.92 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58072 | 2021-02-12 | 3257912/1 | 11527878 / 933540 / Supply and fit "HORN" complete for CO2 fire extinguisher | 4.21 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58073 | 2021-02-12 | 3257912/1 | 11527880 / PRIC92 / DOOR ENTRY - PRICED WORK RATE TO INCLUDE FULL DESCRIPTION OF WORKS AS AGREED WITH TEAM LEADERS | 10 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58074 | 2021-02-12 | 3257912/1 | 11527879 / 933548 / Guage test and patch | 0.4 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58214 | 2021-02-16 | 3261948/1 | 11521687 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58215 | 2021-02-16 | 3261986/1 | 11521779 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58277 | 2021-02-25 | 3265595/1 | 11534087 / 90041E / Fault finding on appliances incl smoke alarm/shower/fan | 40.3 | 1 & 2 Saunders Street
[6 empty] | Total | 16279.72

## 2021-22
Block | Element Code | Attribute Code | refno | date logged | WO no | Description | amount | Block Name
13121 | REPAIRS | BLCHARGE | 58508 | 2021-06-08 | 3254256/1 | 11488645 / 130002 / PROJECT CODES FOR QUICK QUOTES | 19600 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58521 | 2021-06-08 | 3260881/1 | 11516474 / 090044 / Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. | 7077 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58522 | 2021-06-08 | 3260881/1 | 11516473 / 090043 / Supply & erect tower scaffold platform 2.5m square, average 6.5m high from ground level, complete with guard rails, toe boards, ladders and platforms.To comply with current regulations Minimum hire pe | 5812.05 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 58751 | 2021-04-15 | 3279357/1 | 11597402 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 59316 | 2021-06-30 15:32 | 3287905/2 | 11706608 / 985261 / Daywork - concierge engineer / electrical Technician (Scotland) | 42.11 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 59317 | 2021-06-30 15:32 | 3287905/2 | 11706610 / PRIC92 / DOOR ENTRY - PRICED WORK RATE TO INCLUDE FULL DESCRIPTION OF WORKS AS AGREED WITH TEAM LEADERS | 1120 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 59617 | 2021-07-05 14:06 | 3307409/1 | 11691123 / 409999 / Ces callout charge | 25.44 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 59618 | 2021-07-05 14:06 | 3307409/1 | 11691122 / 40016R / Roof Leak | 156.66 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60102 | 2021-09-19 | 3323458/1 | 11753545 / 99015S / Investigate all dark stair, lighting accessories - small repair inc. Clean and relamp any type of fitting (up to 10 no) (tungsten, bulkhead,pendant,2D,Pl) inc resetting breakers and timeclocks as reqd | 74.36 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60103 | 2021-09-19 | 3323458/1 | 11753544 / 99022S / Remove and refix light fitting cover ant type, s+f any type of gear tray, relamp double tube fluorescent, replace lampholders(2no) any type(inc take off + refit covers) or any combination inc refix of | 57.91 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60235 | 2021-10-21 | 3310605/1 | Roof leaking - Blocks 1 & 2 -Extra over for the provision of a covered way, to protect pedestrian traffic within the width of any scaffold. | 1871.66 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60236 | 2021-10-21 | 3310605/1 | Supply & erect tower scaffold platform 2.5m square, average 6.5m high from ground level, complete with guard rails, toe boards, ladders and platforms.To comply with current regulations Minimum hire pe | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60237 | 2021-10-21 | 3310605/1 | Supply and lay "plastique" felt in patches; not exceeding 3m2 | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60238 | 2021-10-21 | 3310605/1 | Remove/refix loose slates / tiles; refixing with appropriate nails or clips. Up to 5 slates / tiles. | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60239 | 2021-10-21 | 3310605/1 | Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60760 | 2021-10-19 | 3335458/1 | Inspect and test designated circuit; fault finding. Drying room lights | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60761 | 2021-10-19 | 3335458/1 | Replace all 9 flourescent lights in the ground floor drying room | 124.02 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60762 | 2021-10-21 | 3335458/2 | Drying room Remove redundant circuit and fittings installed by others. Drying room ground floor | 201.3 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 60763 | 2021-10-21 | 3335458/2 | Inspect and test designated circuit; fault finding. | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 61077 | 2021-11-09 | 3342263/1 | Middle entrance door, foyer light is out.- Investigate all dark stair, lighting accessories. | 190.18 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 61078 | 2021-11-09 | 3342263/1 | Middle entrance door, foyer light is out. | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 61079 | 2021-12-16 | 3342263/2 | Middle entrance door foyer light is out - Investigate all dark stair, lighting accessories. | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 61080 | 2021-11-10 | 3342264/1 | Overhaul any type of door closer. - Stairwell door closer block 2 is broken. | 25.48 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 61216 | 2021-12-03 | 3348162/2 | Communal extractor fan in block 1 needs repaired | 20.13 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 61285 | 2021-12-03 | 3350303/1 | Carry out routine Ventilation service as per contract schedule | 50.93 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 61367 | 2021-12-16 | 3355914/1 | Stair light out at 2nd level block 2 | 74.36 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 61368 | 2021-12-16 | 3355919/1 | Overhaul any type of door closer. Block 2 | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 61823 | 2022-01-14 | 3357605/1 | To fill in all the holes in the walls and floors of the bin rooms where rats are getting into the building | 138.61 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62203 | 2022-02-03 | 3364922/1 | 11915083 / 933503 / Carry out routine insepction and bring back into service 2kg CO2 (fire app) | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62204 | 2022-02-03 | 3364922/1 | Supply and fit 2.0kg gas CO2 fire extinguisher | 41.15 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62205 | 2022-02-03 | 3364922/1 | 11915082 / 933501 / Carry out Routine inspection and bring back into service 9 Litre water (fire app) | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62347 | 2022-02-21 | 3368319/1 | Remove/refix loose slates / tiles. Block 1 | 5251.99 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62348 | 2022-02-21 | 3368319/1 | 11938492 / 04004R / Renew slates / clay tiles / concrete interlocking tiles any size and type. Up to 5 slates / tiles. Include for underslating felt. (5 No. Tiles/Slates allowed for) | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62349 | 2022-02-21 | 3368319/1 | 11938493 / 04006R / Clear out rhones and remove all debris Rate per 10m | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62350 | 2022-02-21 | 3368319/1 | 11938494 / 090043 / Supply & erect tower scaffold platform 2.5m square, average 6.5m high from ground level, complete with guard rails, toe boards, ladders and platforms.To comply with current regulations Minimum hire pe | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62351 | 2022-02-21 | 3368319/1 | 11938496 / 090095 / Extra over for the provision of a covered way, to protect pedestrian traffic within the width of any scaffold. | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62352 | 2022-02-21 | 3368319/1 | 11938495 / 090044 / Supply & erect additional stages of tower scaffold. Each stage 2m in height. Minimum hire period seven days. | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62407 | 2022-02-13 | 3369745/1 | Ces callout charge- Roof Leak - Block 1 into property | 182.1 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62408 | 2022-02-13 | 3369745/1 | 11959119 / 409999 / Ces callout charge | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62423 | 2022-02-16 | 3370106/1 | Carry out 1hr quarterly emergency lighting tests as per appendix schedule | 101.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62470 | 2022-02-28 | 3374865/1 | 11945154 / 90033E / Inspect and test designated circuit; fault finding. | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62471 | 2022-02-28 | 3374865/1 | S&F fluorescent fitting complete. Reset circuit breaker; inspect and test system. Block 1 | 81.13 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62749 | 2022-03-25 | 3384980/1 | Clear blocked drain located in tenants garden | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 62805 | 2022-03-24 | 3388914/1 | Fire door - Repair the metal plate at the base of the landing door. Block 1 | 47.19 | 1 & 2 Saunders Street
[6 empty] | Total | 42524.86

## 2022-23
Block | Element Code | Attribute Code | refno | date logged | WO no | Description | amount | Block
13121 | REPAIRS | BLCHARGE | 62867 | 2022-04-01 | 3384980/2 | 11986829 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 473.7 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 63050 | 2022-04-21 10:21 | 3396010/1 | 12008445 / 06012G / Make safe and measure up for new glazing, any type, includes for removing / refitting board. Up to 2 panes. | 19.87 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 63061 | 2022-04-21 13:52 | 3396162/1 | 12045838 / 409999 / Ces callout charge | 25.44 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 63062 | 2022-04-21 13:52 | 3396162/1 | 12045837 / 02038J / Board up windows and doors; any size; with 18mm ply. Include for framing to opening as required. Plywood to be fixed to framing with treated screws at 400 centres. Include for all labours; ironmongery | 73.24 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 63092 | 2022-05-04 | 3397828/2 | 12017624 / 905002 / Carry out 1H Routine Inspection as per contract schedule. (emer light) | 101.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 63648 | 2022-07-27 | 3422859/1 | 12112200 / 905002 / Carry out 1H Routine Inspection as per contract schedule. (emer light) | 101.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 63845 | 2022-08-24 | 3431276/1 | 12150045 / 904023 / Carry out routine Ventilation service as per contract schedule | 404.68 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 63867 | 2022-08-24 | 3433107/1 | 12145548 / 03003P / Repair burst pipe any type and size, where no other repairs are carried out; includes for 1m of pipe and 2 no fittings | 45.49 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64227 | 2022-10-13 | 3446748/1 | 12245107 / 04016R / Roof Leak | 313.32 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64228 | 2022-10-13 | 3446748/1 | 12245108 / 409999 / Ces callout charge | 50.88 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64229 | 2022-11-21 | 3446748/2 | 12254045 / 04006R / Clear out rhones and remove all debris Rate per 10m | 99.3 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64230 | 2022-11-21 | 3446748/2 | 12254046 / 04013R / Supply and lay "plastique" felt in patches; not exceeding 3m2 | 66.26 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64231 | 2022-11-21 | 3446748/2 | 12254047 / 04018R / Cherry Picker - Standard 40m platform - hourly rate | 306.48 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64232 | 2022-11-21 | 3446749/2 | 12254050 / 04018R / Cherry Picker - Standard 40m platform - hourly rate | 306.48 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64233 | 2022-11-21 | 3446749/2 | 12254048 / 04006R / Clear out rhones and remove all debris Rate per 10m | 99.3 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64234 | 2022-11-21 | 3446749/2 | 12254049 / 04013R / Supply and lay "plastique" felt in patches; not exceeding 3m2 | 66.26 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64235 | 2022-10-26 | 3446754/1 | 12194053 / 06012G / Make safe and measure up for new glazing, any type, includes for removing / refitting board. Up to 2 panes. | 19.87 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64367 | 2022-10-31 | 3452736/1 | 12213154 / 905002 / Carry out 1H Routine Inspection as per contract schedule. (emer light) | 101.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64404 | 2022-11-02 | 3453580/1 | 12217371 / 99015S / Investigate all dark stair, lighting accessories - small repair inc. Clean and relamp any type of fitting (up to 10 no) (tungsten, bulkhead,pendant,2D,Pl) inc resetting breakers and timeclocks as reqd | 74.36 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64405 | 2022-11-18 | 3453585/1 | 12217380 / 02008J / Overhaul any type of door closer. | 25.48 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64406 | 2022-11-18 | 3453585/1 | 12217379 / 02021J / Overhaul door Take off; strip; adjust and rehang door. Adjust stops and ironmongery; refix facings; secure leg; patch ; ease and strip lock edge of door; adjust keeper; overhaul door closer; all as n | 47.19 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64477 | 2022-11-14 13:45 | 3459320/1 | 12236151 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64478 | 2022-11-23 | 3459320/2 | 12248843 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64601 | 2022-12-02 | 3459320/3 | 12275050 / 78019L / JET-VAC TANKER RATES : IN HOURS AND OUT OF HOURS MIN 4 HOUR HIRE | 600 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64602 | 2022-12-02 | 3459320/3 | 12275049 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64695 | 2022-12-06 | 3465684/1 | 12294510 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 1342.15 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64696 | 2022-12-06 | 3465684/1 | 12294513 / 78018L / Carry out a CCTV survey. This should include a report highlighting any defects and a copy of the survey on a disk | 500 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64697 | 2022-12-06 | 3465684/1 | 12294512 / 78019L / JET-VAC TANKER RATES : IN HOURS AND OUT OF HOURS MIN 4 HOUR HIRE | 600 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64698 | 2022-12-06 | 3465684/1 | 12294511 / 78019L / JET-VAC TANKER RATES : IN HOURS AND OUT OF HOURS MIN 4 HOUR HIRE | 600 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64817 | 2022-12-21 | 3470048/1 | 12279475 / 99015S / Investigate all dark stair, lighting accessories - small repair inc. Clean and relamp any type of fitting (up to 10 no) (tungsten, bulkhead,pendant,2D,Pl) inc resetting breakers and timeclocks as reqd | 148.72 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64818 | 2022-12-19 | 3470048/2 | 12289261 / 02007J / S&F any type of door closer. | 102.66 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64819 | 2022-12-19 | 3470048/2 | 12289260 / 02008J / Overhaul any type of door closer. | 25.48 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64820 | 2023-01-17 08:52 | 3470048/4 | 12318752 / 02020J / Cut out and remove existing leg; stops and facings and renew. Refit existing draught strip and keepers and adjust door as required | 90.65 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64821 | 2023-01-17 08:52 | 3470048/4 | 12318754 / 02007J / S&F any type of door closer. | 102.66 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64822 | 2023-01-17 08:52 | 3470048/4 | 12318753 / 02021J / Overhaul door Take off; strip; adjust and rehang door. Adjust stops and ironmongery; refix facings; secure leg; patch ; ease and strip lock edge of door; adjust keeper; overhaul door closer; all as n | 47.19 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 64823 | 2023-01-30 08:12 | 3470048/5 | 12336505 / 99015S / Investigate all dark stair, lighting accessories - small repair inc. Clean and relamp any type of fitting (up to 10 no) (tungsten, bulkhead,pendant,2D,Pl) inc resetting breakers and timeclocks as reqd | 74.36 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65226 | 2023-02-02 10:12 | 3470048/6 | 12341843 / 02007J / S&F any type of door closer. | 102.66 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65296 | 2023-02-08 | 3482840/1 | 12334605 / 681011 / Update existing asbestos survey by taking additional samples and investigating suspect areas as necessary (upto 5 samples) and provide report in Excel spreadsheet form suitable for direct upload to Mo | 125 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65319 | 2023-02-16 | 3484011/1 | 12338478 / 905002 / Carry out 1H Routine Inspection as per contract schedule. (emer light) | 101.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65513 | 2023-02-17 14:52 | 3489074/1 | 12362558 / 409999 / Ces callout charge | 25.44 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65514 | 2023-02-17 14:52 | 3489074/1 | 12362559 / 40001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. Test drain running clear and refit all covers | 82.05 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65590 | 2023-03-28 | 3493227/1 | 12414349 / 904008 / Carry out routine Ventilation service as per contract schedule | 203.76 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65597 | 2023-03-08 | 3493582/1 | 12399725 / 04018R / Cherry Picker - Standard 40m platform - hourly rate | 383.1 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65598 | 2023-03-08 | 3493582/2 | 12378509 / 04006R / Clear out rhones and remove all debris Rate per 10m | 49.65 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65599 | 2023-03-08 | 3493582/2 | 12378510 / 04007R / Clear out downpipes and remove all debris. | 19.87 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65722 | 2023-03-14 10:14 | 3497609/1 | 12394553 / 99015S / Investigate all dark stair, lighting accessories - small repair inc. Clean and relamp any type of fitting (up to 10 no) (tungsten, bulkhead,pendant,2D,Pl) inc resetting breakers and timeclocks as reqd | 74.36 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65724 | 2023-03-15 | 3497683/1 | 12394659 / 02007J / S&F any type of door closer. | 102.66 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65725 | 2023-03-15 | 3497683/1 | 12394658 / 02008J / Overhaul any type of door closer. | 25.48 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65785 | 2023-03-30 | 3501910/1 | 12409825 / 99022S / Remove and refix light fitting cover ant type, s+f any type of gear tray, relamp double tube fluorescent, replace lampholders(2no) any type(inc take off + refit covers) or any combination inc refix of | 57.91 | 1 & 2 Saunders Street
[6 empty] | Total | 8645.06

## 2023-24
Block | Element Code | Attribute Code | refno | date logged | WO no | Description | amount | Block Name
13121 | REPAIRS | BLCHARGE | 65857 | 2023-04-13 | 3499896/1 | 12454924 / 985261 / Daywork - concierge engineer / electrical Technician (Scotland) | 74.72 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 65978 | 2023-04-25 | 3509929/1 | 12435904 / 90033E / Inspect and test designated circuit; fault finding. | 20.13 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 66282 | 2023-05-31 | 3523802/1 | 12487654 / 99015S / Investigate all dark stair, lighting accessories - small repair inc. Clean and relamp any type of fitting (up to 10 no) (tungsten, bulkhead,pendant,2D,Pl) inc resetting breakers and timeclocks as reqd | 74.36 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 66316 | 2023-06-02 | 3513039/3 | 12490230 / PRIC06 / GLAZIER - PRICED WORK RATE TO INCLUDE FULL DESCRIPTION OF WORKS AS AGREED WITH TEAM LEADERS | 715 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 66630 | 2023-07-04 | 3533340/1 | 12550362 / 985261 / Daywork - concierge engineer / electrical Technician (Scotland) | 37.36 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 66631 | 2023-07-04 | 3533340/1 | 12550364 / 920066 / Check and repair door closer | 14.74 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 66632 | 2023-07-04 | 3533340/1 | 12550363 / 920032 / Check and repair Assa lock | 22.11 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 66748 | 2023-07-28 | 3542037/1 | 12552490 / 905002 / Carry out 1H Routine Inspection as per contract schedule. (emer light) | 101.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 66751 | 2023-07-28 09:50 | 3542494/1 | 12554574 / 03029P / Remake defective metal eaves gutter joint (any type). Rebed with putty and paint; fixed with a new galvanised bolt; nut and washer. Includes for the use of a ladder. | 20.99 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 66811 | 2023-08-01 | 3541941/1 | 12561571 / 904023 / Carry out routine Ventilation service as per contract schedule | 404.68 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 66872 | 2023-08-07 11:27 | 3544983/1 | 12564353 / 99015S / Investigate all dark stair, lighting accessories - small repair inc. Clean and relamp any type of fitting (up to 10 no) (tungsten, bulkhead,pendant,2D,Pl) inc resetting breakers and timeclocks as reqd | 74.36 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 67072 | 2023-08-31 | 3552817/1 | 12591418 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 67073 | 2023-09-20 13:14 | 3552817/2 | 12617127 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 67328 | 2023-10-11 | 3566243/1 | Block 2 Saunders Street - The front door entry which can be accessed from India Place is no longer locking | 40 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 67449 | 2023-11-27 | 3572528/1 | Carry out 3H Routine Inspection as per contract schedule.(Emer light) | 202.42 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 67591 | 2023-11-23 09:06 | 3582485/1 | Block 2 -Clear drains around building-at front and back-as sewage smell coming up into tnts sinks , in kitchen and bathroom | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68163 | 2023-12-01 | 3585636/1 | 12716104 / 99022S / Remove and refix light fitting cover ant type, s+f any type of gear tray, relamp double tube fluorescent, replace lampholders(2no) any type(inc take off + refit covers) or any combination inc refix of | 57.91 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68189 | 2023-12-04 10:32 | 3586707/1 | 12719635 / 03003P / Repair burst pipe any type and size, where no other repairs are carried out; includes for 1m of pipe and 2 no fittings | 45.49 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68190 | 2023-12-07 | 3586707/2 | 12742153 / 02021J / Overhaul door Take off; strip; adjust and rehang door. Adjust stops and ironmongery; refix facings; secure leg; patch ; ease and strip lock edge of door; adjust keeper; overhaul door closer; all as n | 47.19 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68191 | 2023-12-07 | 3586707/2 | 12742154 / 03058P / TIME ONLY FOR 30 MINUTES | 60 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68262 | 2023-12-18 | 3589452/1 | 12728729 / 02021J / Overhaul door Take off; strip; adjust and rehang door. Adjust stops and ironmongery; refix facings; secure leg; patch ; ease and strip lock edge of door; adjust keeper; overhaul door closer; all as n | 47.19 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68289 | 2023-12-19 | 3592122/1 | 12757378 / 04004R / Renew slates / clay tiles / concrete interlocking tiles any size and type. Up to 5 slates / tiles. Include for underslating felt. (5 No. Tiles/Slates allowed for) | 91.9 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68290 | 2023-12-19 | 3592122/1 | 12757377 / 04001R / Remove/refix loose slates / tiles; refixing with appropriate nails or clips. Up to 5 slates / tiles. | 42.92 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68291 | 2023-12-19 | 3592122/1 | 12757376 / 04044R / PROVISION OF MEWP ACCESS PLATFORM COMPLETE WITH OPERATOR; HALF SHIFT | 336.86 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68292 | 2023-12-19 | 3592122/1 | 12757379 / 04006R / Clear out rhones and remove all debris Rate per 10m | 49.65 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68310 | 2023-12-18 14:06 | 3593034/1 | 12741076 / 11010L / Take down dangerous ceiling, any size, using protective sheeting as necessary. Remove debris to appropriate waste skips. Rate per ceiling. | 132.45 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68469 | 2024-01-17 14:08 | 3603937/1 | 12775158 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 78.95 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68583 | 2024-02-12 | 3609339/1 | 12814265 / 905002 / Carry out 1H Routine Inspection as per contract schedule. (emer light) | 101.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68584 | 2024-02-12 | 3609339/1 | 12814266 / 90016E / Minor repair to lighting accessories or to switch socket / plug top; reset circuit breaker; inspect and test system | 40.26 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68608 | 2024-02-08 | 3611089/1 | 12812057 / 06002G / S&F 6.4mm Laminated glazing. Prepare background and replace with 6.4mm laminated safety glass, s&f with recommended fixings. Include for taking down temporary shutters and refixing glazing beads | 67.4 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68609 | 2024-02-08 | 3611089/1 | 12812056 / 06012G / Make safe and measure up for new glazing, any type, includes for removing / refitting board. Up to 2 panes. | 19.87 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68610 | 2024-02-02 | 3611092/1 | 12831137 / 920046 / Door contacts - clean and test | 17.1 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68611 | 2024-02-02 | 3611092/1 | 12831135 / 920065 / Adjust door closer | 60 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68612 | 2024-02-02 | 3611092/1 | 12831136 / 920032 / Check and repair Assa lock | 180 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68613 | 2024-02-05 | 3611099/1 | 12796942 / 90019E / S&F fluorescent fitting complete. Reset circuit breaker; inspect and test system. | 61 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68728 | 2024-02-15 | 3616677/1 | 12815389 / 90019E / S&F fluorescent fitting complete. Reset circuit breaker; inspect and test system. | 122 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68729 | 2024-02-15 | 3616677/1 | 12815390 / 90033E / Inspect and test designated circuit; fault finding. | 20.13 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68754 | 2024-02-16 11:37 | 3617548/1 | 12844197 / 04001R / Remove/refix loose slates / tiles; refixing with appropriate nails or clips. Up to 5 slates / tiles. | 42.92 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68755 | 2024-02-16 11:37 | 3617548/1 | 12844198 / 04018R / Cherry Picker - Standard 40m platform - hourly rate | 306.48 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68778 | 2024-03-01 | 3619605/1 | 12876635 / 920010 / INVESTIGATE DOOR ENTRY SYSTEM FAULT | 60 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 68868 | 2024-03-04 | 3622400/1 | 12844305 / 904008 / Carry out routine Ventilation service as per contract schedule | 101.88 | 1 & 2 Saunders Street
[6 empty] | Total | 4229.67

## 2024-25
Block Code | Element Code | Attribute Code | refno | date logged | WO no | Description | Amount | Block Name
13121 | REPAIRS | BLCHARGE | 69105 | 2024-04-06 14:55 | 3635995/1 | Clear choked or blocked drain- Sewage coming up in the back garden | 107.49 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69106 | 2024-04-06 14:55 | 3635995/1 | Ces callout charge - Clear choked or blocked drain- Sewage coming up in the back garden | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69187 | 2024-04-19 15:48 | 3640633/1 | Walkways around tank areas - Block 1 tanks 3, 4, 5 and 6 - Block 2 tanks 8 and 11 | 2311.65 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69517 | 2024-06-03 | 3655542/1 | 12967038 / 03003P / Repair burst pipe any type and size, where no other repairs are carried out; includes for 1m of pipe and 2 no fittings | 45.49 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69454 | 2024-06-04 | 3652138/1 | 12987335 / 04006R / Clear out rhones and remove all debris Rate per 10m | 297.9 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69455 | 2024-06-18 | 3652138/2 | 12985216 / 04001R / Remove/refix loose slates / tiles; refixing with appropriate nails or clips. Up to 5 slates / tiles. | 42.92 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69766 | 2024-07-09 | 3669188/1 | 13011930 / 06012G / Make safe and measure up for new glazing, any type, includes for removing / refitting board. Up to 2 panes. | 19.87 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69899 | 2024-08-02 | 3677107/1 | 13040970 / 904023 / Carry out routine Ventilation service as per contract schedule | 202.34 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69948 | 2024-08-12 | 3679830/1 | 13100564 / 920032 / Check and repair Assa lock | 60 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69949 | 2024-08-12 | 3679830/1 | 13100563 / 920010 / INVESTIGATE DOOR ENTRY SYSTEM FAULT | 60 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69941 | 2024-08-21 | 3679098/1 | 13070192 / 06002G / S&F 6.4mm Laminated glazing. Prepare background and replace with 6.4mm laminated safety glass, s&f with recommended fixings. Include for taking down temporary shutters and refixing glazing beads | 67.4 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 69942 | 2024-08-21 | 3679098/1 | 13070191 / 06012G / Make safe and measure up for new glazing, any type, includes for removing / refitting board. Up to 2 panes. | 19.87 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 70050 | 2024-08-28 11:18 | 3686354/1 | 13072701 / 78001L / Clear choked or blocked drain, include for lifting all manholes, checking line, removing overspill, washing down and disinfecting all contaminated areas. | 2605.35 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 70051 | 2024-08-28 11:18 | 3686354/1 | 13072702 / 78008L / S&F new hit and miss cover, any size and type. | 30.49 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 70052 | 2024-08-28 11:18 | 3686354/1 | 13072703 / 78015L / Pump out sewage to manhole to gain access to drain. Rate per drain | 19.11 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 70192 | 2024-10-24 | 3677580/2 | Carry out 1H Routine Inspection as per contract schedule. (emer light) | 101.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE | 70435 | 2024-11-04 | 3709356/1 | Carry out 3H Routine Inspection as per contract schedule.(Emer light) | 202.42 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE |  | 2025-01-15 | 3733819/1 | Inspect and test designated circuit; fault finding. - Check ventilation motors | 80.52 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE |  | 2025-02-13 | 3746614/1 | Carry out routine 1 hour emergency lighting inspection | 101.2 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE |  | 2025-02-24 | 3746614/2 | Relamp coughtrie light 1st floor staircase next to bin chute Complete one hour light test form | 60.39 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE |  | 2025-02-24 | 3746614/2 | Inspect and test designated circuit; fault finding. - Relamp coughtrie light 1st floor staircase next to bin chute Complete one hour light test form | 0 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE |  | 2025-03-03 | 3756941/1 | Carry out routine Ventilation service as per contract schedule | 101.88 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE |  | 2025-03-20 | 3709356/2 | Supply and fit emergency led coughtrie light fittings x3 and complete emergency light certificate after. Level 2 | 203.13 | 1 & 2 Saunders Street
13121 | REPAIRS | BLCHARGE |  | 2025-03-20 | 3709356/2 | Inspect and test designated circuit; fault finding. | 0 | 1 & 2 Saunders Street
[6 empty] | Total | 6740.62